Frequency to Voltage Converter

And Digital Tachometers

LM2907 From National Semiconductor

# Introduction

Frequency-to-Voltage converts are commonly associated with digital tachometers, which are used to measure the rate of rotation for a wheel.  Digital tachometers are currently available in a wide range of forms (all of which use some type of frequency to voltage converter).  Most non-contact tachometers require reflective strips to be placed on the object to be measured.  Pictures of several types of digital tachometers are included below.

Infrared Digital Tachometer

Laser Digital Tachometer

Combo/Electromagnetic Digital Tachometer

# Applications

# The frequency to voltage converter can be used for any application that requires measurement of a repeating event, such as a wheel making a complete rotation.    For the robot, this could be used in place of the current encoders to measure velocity.

# Theory of Operation

A rate meter simply measures the rate at which some event occurs. Usually this is done by counting the events (contact closures, electrical pulses, etc.) for a given period of time (known as the integration interval) and then simply dividing the number of events by the time to get a rate.  Conversely, an analog tachometer is usually built up out of an electro-mechanical current meter and some sort of input conditioning circuitry. Instead of integrating the input signal over discrete time intervals, the mass of the meter movement itself is used to continuously integrate the input pulses.

# When and How to Use

For the LM2907N-8 (8 pins) in the configuration seen below, a frequency signal is applied to the input of the charge pump at pin 1.  The voltage appearing at pin 2 will swing between two values which are approximately ¼ (VCC) – VBE and ¾ (VCC) – VBE.  The voltage at pin 3 will have a value equal to VCC * fIN * C1 * R1 * K, where K is the gain constant (normally 1.0).

Configuration for the LM2907N-8

R1, C1, and C2 are subject to some limitations, which can be found on the LM2907 data sheet from National Semiconductor.  A typical magnetic pick up is shown below.  A magnetic pickup is essentially a coil wound around a permanently magnetized probe. When discrete ferromagnetic objects such as gear teeth, turbine rotor blades, slotted discs, or shafts with keyways-are passed through the probe's magnetic field, the flux density is modulated. This induces AC voltages in the coil.  One complete cycle of voltage is generated for each object passed. If the objects are evenly spaced on a rotating shaft, the total number of cycles will be a measure of the total rotation, and the frequency of the AC voltage will be directly proportional to the rotational speed of the shaft

Magnetic Pickup

# Interfacing

The diagram below shows a good way to interface the LM2907N (14-pins).  The input signal goes to pin 1, the capacitors and resistors mentioned above are given, a reference voltage is applied to pin 11, and a constant voltage is on pins 8 and 9.  The emitter output is connected to the inverting input of the op amp so that pin 5 will follow pins 3 and 4 and provide a low impedance output voltage proportional to input frequency.  The output signal from pins 5 and 10 is 67 Hz/V.  This output voltage should be sent to an ADC, and then read by the DSP.

# Typical Specifications and Prices

The linearity of the output voltage is typically better than 0.3% of full scale.  Plots of the linearity of the tachometer vs. operating temperature are shown below.

This chip is a typical 14-pin (or 8-pin) footprint, as seen below.

National Semiconductor sells the LM2907N for $0.80 each, but this price is for quantities of 1000 and over.  The magnetic pickup sensor shown in the examples costs $75 at least.

More details about the LM2907 and digital tachometers can be found from the websites listed in the references section

# References

http://www.national.com/pf/LM/LM2907.html

http://4crawler.cruiserpages.com/Diesel/CheapTricks/Tachometer/index.shtml

http://www.daytronic.com/products/trans/t-speed.htm

Some venders for tachometers

http://www.checkline.com/tachometers/cdt2000.htm

http://www.tequipment.net/AEMCCalibrationInstruments.html

http://jetronl.chinasuppliers.alibaba.com/product/0/10139100.html