Vibrating Beam Accelerometer

Andrew Honegger

GE330

Introduction

Accelerometers have wide ranging applications including (not limited to) navigation, vibration sensing, and tilt sensing.  In addition, these sensors vary tremendously in quality and cost.  For example, they can range from >$300,000 inertial navigation systems for missiles to <$10 automotive airbag deployment sensors.  Attributes that determine the quality and cost of accelerometers include: sensing mechanism, number of sensitive axes, measurement range, noise level, and drift.  The sensor chosen for this report is the CXL04LP3 from Crossbow.

Accelerometer Operation

The LP series accelerometers from Crossbow use a micromachined capacitative beam to measure vibration on each axis.  This beam deflects when a component of acceleration on the axis of sensitivity for the beam (say, the x-axis) is detected.  As the beam deflects, the capacitance of the element is changed.  Accelerations along other principle axes do not affect the capacitance of the element, since the capacitative gap does not change in size.  The change in capacitance is then converted by the accelerometer to a voltage signal, which can be read by the DSP using a A/D converter.

Applications

Some common accelerometer uses are bulleted below, but there are many more!

General Accelerometer Uses

  - Acceleration Measurement!

    - Airbag deployment

  - Velocity and Position Measurements

(v = ∫adt   and   x = ∫vdt)

  - Vibration or Shock Analysis

    - Track shock levels in shipment of sensitive equipment

    - Need for equipment maintenance (can detect worn bearings)

  - Tilt Measurement

    - Accelerometer measures gravity vector, so change in this vector indicates tilt.

One application for the GE330 robots would be a robust navigation system that integrates from acceleration to find velocity and position.  The advantages and disadvantages of such a system are shown in the table below:

Advantages:				Disadvantages:

| 1) Not affected by wheel slippage | 1) Alignment, scale factor errors, and offset errors are crucial |
| --- | --- |
| 2) Not affected by surroundings | 2) Drift |
| 3) Can compensate for tilt (all-terrain capability) | 3) ~10mg Noise level, 100Hz bandwidth |

Alignment, scale factor, and offset errors are detrimental to the accuracy of velocity and position calculations because each of these errors is integrated (either once or twice) during the calculation.  Therefore, as small error (alignment, scale factor, or offset) can lead to a huge error in navigation calculations.  Drift correlates to the fact that previous errors in calculation are not compensated for.  The new errors are simply added to the old errors.  Therefore, the navigation calculations “drift” over time.  Because of this, many inertial navigation systems have periodic updates of precise positioning information sent to the device.  The inertial navigation keeps accurate track of the position between updates.

Specifications

Physical Dimensions

The LP series accelerometers are available in two different packages.  Schematics of each package are shown below.

Standard Package

High Temperature Package

Interface

A schematic of how to interface the CXL04LP3 with the DSP used in the lab.  NOTE:  the A0 line on the ADC needs to be toggled in order to read the third axis of acceleration.  To show this, the schematic has the pin connected to an address pin on the DSP.  However, a latch needs to be implemented to make the pin state match the timing diagram for communication with the DSP (refer to the AD6872 data sheet)

Ordering Information

The CXL04LP3 can be ordered online from www.xbow.com.  The price is $349.  Single axis, dual-axis, and higher sensitivity accelerometers are also available at this website.

Other Links

http://www.sensotec.com/accelerometers.asp

http://www.inertialsensor.com/index.shtml

# Text boxes

Pin Diagram

Pin    Color             Function

1       Red              Power In

2       Black           Ground

3       White           X-axis Out

4       Yellow          Y-axis Out

5       Green          Z-axis Out

Accelerometer

EA11

3